9975 | 31/01/2025 12:49:02.651 PM | 31/01/2025 12:49:02.651 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0011 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0011 | S1-LBS-0011 | RBB02YS-10 : Cellular TRUE : แยกเจ็ดเสมียน | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9976 | 31/01/2025 12:49:02.646 PM | 31/01/2025 12:49:02.646 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0176 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0176 | S1-REC-0176 | RNB09R-03 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9977 | 31/01/2025 12:49:02.613 PM | 31/01/2025 12:49:02.610 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0032 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0032 | S1-VSP-0032 | BSP02S-14 : Cellular PP Ontime : VSPP 2RNS01 บจก. รางเงิน โซลูชั่น (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9978 | 31/01/2025 12:49:02.582 PM | 31/01/2025 12:49:02.581 PM | Remote unit state changed from Telemetry Failure to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0421 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0421 | S1-RCS-0421 | RBC03S-11 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9979 | 31/01/2025 12:49:02.576 PM | 31/01/2025 12:49:02.575 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0083 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0083 | S1-REC-0083 | KDA02R-01 | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9980 | 31/01/2025 12:49:02.529 PM | 31/01/2025 12:49:02.529 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0045 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0045 | S1-VSP-0045 | PTH03S-10 : Cellular PP Ontime : VSPP 2TGP01 บจก. ตั้งแซเยี้ยงกรีนเพาเวอร์ วัน (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9981 | 31/01/2025 12:49:02.516 PM | 31/01/2025 12:49:02.514 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0190 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0190 | S1-REC-0190 | BSP09R-01 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9982 | 31/01/2025 12:49:02.494 PM | 31/01/2025 12:49:02.493 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0092 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0092 | S1-REC-0092 | TSE04R-01 | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9983 | 31/01/2025 12:49:02.486 PM | 31/01/2025 12:49:02.485 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0384 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0384 | S1-RCS-0384 | PTH04S-27 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9984 | 31/01/2025 12:49:02.469 PM | 31/01/2025 12:49:02.468 PM | Remote unit state changed from Online to Telemetry Failure. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0402 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0402 | S1-RCS-0402 | SSA10S-22 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9985 | 31/01/2025 12:49:02.462 PM | 31/01/2025 12:49:02.449 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0415 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0415 | S1-RCS-0415 | KDA03S-05 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9986 | 31/01/2025 12:49:02.442 PM | 31/01/2025 12:49:02.437 PM | Remote unit state changed from Telemetry Failure to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0037 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0037 | S1-VSP-0037 | TSE02S-09 : Cellular PP Ontime : VSPP 2CPI01 บมจ.ชุมพรอุตสาหกรรมน้ำมันปาล์ม (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9987 | 31/01/2025 12:49:02.432 PM | 31/01/2025 12:49:02.427 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0033 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0033 | S1-VSP-0033 | BSP06S-20 : Cellular PP Ontime : VSPP 2RNS09 บจก. รางเงิน โซลูชั่น (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9988 | 31/01/2025 12:49:02.370 PM | 31/01/2025 12:49:02.369 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0205 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0205 | S1-REC-0205 | QTA10R-01 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9989 | 31/01/2025 12:49:02.353 PM | 31/01/2025 12:49:02.245 PM | Remote unit state changed from Initializing to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0200 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0200 | S1-REC-0200 | XPA02R-03 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9990 | 31/01/2025 12:49:02.229 PM | 31/01/2025 12:49:02.228 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0412 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0412 | S1-RCS-0412 | LSA01S-28 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9991 | 31/01/2025 12:49:01.348 PM | 31/01/2025 12:49:01.347 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0011 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0011 | S1-LBS-0011 | RBB02YS-10 : Cellular TRUE : แยกเจ็ดเสมียน | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9992 | 31/01/2025 12:49:01.343 PM | 31/01/2025 12:49:01.343 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0043 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0043 | S1-VSP-0043 | CPA04S-12 : Cellular PP Ontime : VSPP 2NPG02 บจก. กลุ่มปาล์มธรรมชาติ (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9993 | 31/01/2025 12:49:01.338 PM | 31/01/2025 12:49:01.338 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0211 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0211 | S1-REC-0211 | RNA05R-07 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9994 | 31/01/2025 12:49:01.334 PM | 31/01/2025 12:49:01.334 PM | Remote unit state changed from Online to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-AVR-0007 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-AVR-0007 | S1-AVR-0007 | TSE05A-01 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9995 | 31/01/2025 12:49:01.331 PM | 31/01/2025 12:49:01.331 PM | Remote unit state changed from Online to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0101 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0101 | S1-REC-0101 | KUR01R-03 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9996 | 31/01/2025 12:49:01.328 PM | 31/01/2025 12:49:01.327 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0375 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0375 | S1-RCS-0375 | PBA06S-35 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9997 | 31/01/2025 12:49:01.325 PM | 31/01/2025 12:49:01.324 PM | Remote unit state changed from Initializing to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0009 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0009 | S1-VSP-0009 | TSE06S-15 : Cellular PP Ontime : VSPP 2CPC01 บจก. ซีพีพี (After GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9998 | 31/01/2025 12:49:01.320 PM | 31/01/2025 12:49:01.320 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0174 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0174 | S1-REC-0174 | RNA06R-01 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9999 | 31/01/2025 12:49:01.318 PM | 31/01/2025 12:49:01.317 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0040 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0040 | S1-VSP-0040 | LSA05S-20 : Cellular PP Ontime : VSPP 2CPO01 บจก. ชุมพร เอส.พี.ปาล์มออยล์ (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
10000 | 31/01/2025 12:49:01.313 PM | 31/01/2025 12:49:01.309 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0009 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0009 | S1-VSP-0009 | TSE06S-15 : Cellular PP Ontime : VSPP 2CPC01 บจก. ซีพีพี (After GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2

## Sheet1
Message
Remote unit state changed from Online to Connecting.
Remote unit state changed from Initializing to Online.
Remote unit state changed from Connecting to Initializing.
Remote unit state changed from Telemetry Failure to Connecting.
Remote unit state changed from Online to Telemetry Failure.
Remote unit state changed from Initializing to Connecting.
Remote unit state changed from Telemetry Failure to Online.
Remote unit state changed from Online to Initializing.
Remote unit state changed from Telemetry Failure to Initializing.
Remote unit state changed from Offline to Connecting.