## Sheet1
# | Process time | Field change time | Message | Type | Region | Subregion | Substation | Feeder | Location | Device | Device type | AOR | Element | RTU | Alias | Severity | Voltage level [kV] | Category | Class | Activity | Inhibit | Source | User name | Console name | Reason source | Reason ID
1 | 16/2/2025 23:59:48.781 | 16/2/2025 23:59:48.778 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
2 | 16/2/2025 23:59:48.778 | 16/2/2025 23:59:48.762 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
3 | 16/2/2025 23:59:14.265 | 16/2/2025 23:59:14.264 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
4 | 16/2/2025 23:54:34.242 | 16/2/2025 23:54:34.241 | Remote unit state changed from Telemetry Failure to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
5 | 16/2/2025 23:54:23.113 | 16/2/2025 23:54:23.112 | Remote unit state changed from Online to Telemetry Failure. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
6 | 16/2/2025 23:51:44.145 | 16/2/2025 23:51:44.144 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
7 | 16/2/2025 23:51:44.142 | 16/2/2025 23:51:44.141 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
8 | 16/2/2025 23:51:10.585 | 16/2/2025 23:51:10.584 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9 | 16/2/2025 23:47:09.493 | 16/2/2025 23:47:09.492 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
10 | 16/2/2025 23:41:31.527 | 16/2/2025 23:41:31.525 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
11 | 16/2/2025 23:41:31.523 | 16/2/2025 23:41:31.522 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
12 | 16/2/2025 23:40:57.976 | 16/2/2025 23:40:57.976 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
13 | 16/2/2025 23:36:58.014 | 16/2/2025 23:36:58.013 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
14 | 16/2/2025 23:23:25.795 | 16/2/2025 23:23:25.788 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
15 | 16/2/2025 23:23:25.785 | 16/2/2025 23:23:25.773 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
16 | 16/2/2025 23:22:52.125 | 16/2/2025 23:22:52.125 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
17 | 16/2/2025 23:17:41.462 | 16/2/2025 23:17:41.461 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
18 | 16/2/2025 23:13:29.139 | 16/2/2025 23:13:29.137 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
19 | 16/2/2025 23:13:29.135 | 16/2/2025 23:13:29.134 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
20 | 16/2/2025 23:12:55.532 | 16/2/2025 23:12:55.530 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
21 | 16/2/2025 23:08:15.707 | 16/2/2025 23:08:15.706 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
22 | 16/2/2025 22:55:21.244 | 16/2/2025 22:55:21.241 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
23 | 16/2/2025 22:55:21.240 | 16/2/2025 22:55:21.239 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
24 | 16/2/2025 22:54:47.695 | 16/2/2025 22:54:47.694 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
25 | 16/2/2025 22:50:08.069 | 16/2/2025 22:50:08.068 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
26 | 16/2/2025 22:30:03.638 | 16/2/2025 22:30:03.637 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
27 | 16/2/2025 22:30:01.600 | 16/2/2025 22:30:01.598 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
28 | 16/2/2025 22:30:00.585 | 16/2/2025 22:30:00.583 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
29 | 16/2/2025 22:29:21.842 | 16/2/2025 22:29:21.841 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
30 | 16/2/2025 22:29:21.839 | 16/2/2025 22:29:21.839 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
31 | 16/2/2025 22:28:48.237 | 16/2/2025 22:28:48.236 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
32 | 16/2/2025 22:24:37.954 | 16/2/2025 22:24:37.953 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
33 | 16/2/2025 22:23:04.193 | 16/2/2025 22:23:04.188 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
34 | 16/2/2025 22:23:04.184 | 16/2/2025 22:23:04.183 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
35 | 16/2/2025 22:22:30.669 | 16/2/2025 22:22:30.668 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
36 | 16/2/2025 22:21:00.182 | 16/2/2025 22:21:00.181 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
37 | 16/2/2025 22:17:21.323 | 16/2/2025 22:17:21.322 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
38 | 16/2/2025 22:17:21.321 | 16/2/2025 22:17:21.320 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
39 | 16/2/2025 22:16:48.860 | 16/2/2025 22:16:48.859 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
40 | 16/2/2025 22:11:48.591 | 16/2/2025 22:11:48.589 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
41 | 16/2/2025 22:06:14.795 | 16/2/2025 22:06:14.794 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
42 | 16/2/2025 22:06:13.770 | 16/2/2025 22:06:13.768 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
43 | 16/2/2025 22:06:12.821 | 16/2/2025 22:06:12.820 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
44 | 16/2/2025 21:50:06.800 | 16/2/2025 21:50:06.799 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
45 | 16/2/2025 21:50:05.804 | 16/2/2025 21:50:05.803 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
46 | 16/2/2025 21:50:01.777 | 16/2/2025 21:50:01.675 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
47 | 16/2/2025 21:45:57.383 | 16/2/2025 21:45:57.382 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
48 | 16/2/2025 21:45:56.330 | 16/2/2025 21:45:56.330 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
49 | 16/2/2025 21:45:52.330 | 16/2/2025 21:45:52.330 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
50 | 16/2/2025 21:41:23.726 | 16/2/2025 21:41:23.725 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
51 | 16/2/2025 21:41:23.723 | 16/2/2025 21:41:23.722 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
52 | 16/2/2025 21:40:50.065 | 16/2/2025 21:40:50.064 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
53 | 16/2/2025 21:36:29.614 | 16/2/2025 21:36:29.613 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
54 | 16/2/2025 21:33:44.609 | 16/2/2025 21:33:44.608 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
55 | 16/2/2025 21:33:44.602 | 16/2/2025 21:33:44.600 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
56 | 16/2/2025 21:33:41.542 | 16/2/2025 21:33:41.541 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
57 | 16/2/2025 21:25:02.847 | 16/2/2025 21:25:02.699 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
58 | 16/2/2025 21:25:02.698 | 16/2/2025 21:25:02.697 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
59 | 16/2/2025 21:24:28.036 | 16/2/2025 21:24:28.034 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
60 | 16/2/2025 21:22:07.681 | 16/2/2025 21:22:07.680 | Remote unit state changed from Telemetry Failure to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
61 | 16/2/2025 21:21:01.520 | 16/2/2025 21:21:01.519 | Remote unit state changed from Online to Telemetry Failure. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
62 | 16/2/2025 21:13:01.398 | 16/2/2025 21:13:01.323 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
63 | 16/2/2025 21:13:01.326 | 16/2/2025 21:13:01.323 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
64 | 16/2/2025 21:12:27.738 | 16/2/2025 21:12:27.727 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
65 | 16/2/2025 21:07:27.385 | 16/2/2025 21:07:27.384 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
66 | 16/2/2025 20:54:40.126 | 16/2/2025 20:54:40.124 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
67 | 16/2/2025 20:54:39.093 | 16/2/2025 20:54:39.091 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
68 | 16/2/2025 20:54:35.989 | 16/2/2025 20:54:35.988 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
69 | 16/2/2025 20:53:05.696 | 16/2/2025 20:53:05.695 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
70 | 16/2/2025 20:53:05.693 | 16/2/2025 20:53:05.692 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
71 | 16/2/2025 20:52:31.902 | 16/2/2025 20:52:31.901 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
72 | 16/2/2025 20:47:41.989 | 16/2/2025 20:47:41.988 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
73 | 16/2/2025 20:44:53.167 | 16/2/2025 20:44:53.166 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
74 | 16/2/2025 20:44:53.165 | 16/2/2025 20:44:53.164 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
75 | 16/2/2025 20:44:19.603 | 16/2/2025 20:44:19.602 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
76 | 16/2/2025 20:40:09.493 | 16/2/2025 20:40:09.493 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
77 | 16/2/2025 20:38:44.040 | 16/2/2025 20:38:44.037 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
78 | 16/2/2025 20:38:44.035 | 16/2/2025 20:38:44.034 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
79 | 16/2/2025 20:38:10.438 | 16/2/2025 20:38:10.437 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
80 | 16/2/2025 20:34:09.486 | 16/2/2025 20:34:09.485 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
81 | 16/2/2025 20:30:05.058 | 16/2/2025 20:30:05.054 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
82 | 16/2/2025 20:30:04.027 | 16/2/2025 20:30:04.020 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
83 | 16/2/2025 20:29:59.929 | 16/2/2025 20:29:59.918 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
84 | 16/2/2025 20:22:38.434 | 16/2/2025 20:22:38.433 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
85 | 16/2/2025 20:22:38.427 | 16/2/2025 20:22:38.426 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
86 | 16/2/2025 20:22:02.841 | 16/2/2025 20:22:02.840 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
87 | 16/2/2025 20:19:52.672 | 16/2/2025 20:19:52.671 | Remote unit state changed from Telemetry Failure to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
88 | 16/2/2025 20:17:43.516 | 16/2/2025 20:17:43.515 | Remote unit state changed from Online to Telemetry Failure. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
89 | 16/2/2025 20:10:23.104 | 16/2/2025 20:10:23.102 | Remote Unit is now in expected state (Online). | Alarm | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Low | NaN | TELEMETRY_FAILURE | Communication | Telemetry Alarm | Disabled | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
90 | 16/2/2025 20:10:23.101 | 16/2/2025 20:10:23.100 | Remote unit state changed from Initializing to Online. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
91 | 16/2/2025 20:09:49.526 | 16/2/2025 20:09:49.525 | Remote unit state changed from Connecting to Initializing. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
92 | 16/2/2025 20:05:27.970 | 16/2/2025 20:05:27.969 | Remote unit state changed from Online to Connecting. | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0001 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0001 | S1-LBS-0001 | RBB02YS-20 : Cellular TRUE : สวนมะม่วงโชคอนันต์ | Trivi

## Sheet2
Field change time | Message
16/2/2025 23:59:48.778 | Remote Unit is now in expected state (Online).
16/2/2025 23:59:48.762 | Remote unit state changed from Initializing to Online.
16/2/2025 23:59:14.264 | Remote unit state changed from Connecting to Initializing.
16/2/2025 23:54:34.241 | Remote unit state changed from Telemetry Failure to Connecting.
16/2/2025 23:54:23.112 | Remote unit state changed from Online to Telemetry Failure.
16/2/2025 23:51:44.144 | Remote Unit is now in expected state (Online).
16/2/2025 23:51:44.141 | Remote unit state changed from Initializing to Online.
16/2/2025 23:51:10.584 | Remote unit state changed from Connecting to Initializing.
16/2/2025 23:47:09.492 | Remote unit state changed from Online to Connecting.
16/2/2025 23:41:31.525 | Remote Unit is now in expected state (Online).
16/2/2025 23:41:31.522 | Remote unit state changed from Initializing to Online.
16/2/2025 23:40:57.976 | Remote unit state changed from Connecting to Initializing.
16/2/2025 23:36:58.013 | Remote unit state changed from Online to Connecting.
16/2/2025 23:23:25.788 | Remote Unit is now in expected state (Online).
16/2/2025 23:23:25.773 | Remote unit state changed from Initializing to Online.
16/2/2025 23:22:52.125 | Remote unit state changed from Connecting to Initializing.
16/2/2025 23:17:41.461 | Remote unit state changed from Online to Connecting.
16/2/2025 23:13:29.137 | Remote Unit is now in expected state (Online).
16/2/2025 23:13:29.134 | Remote unit state changed from Initializing to Online.
16/2/2025 23:12:55.530 | Remote unit state changed from Connecting to Initializing.
16/2/2025 23:08:15.706 | Remote unit state changed from Online to Connecting.
16/2/2025 22:55:21.241 | Remote Unit is now in expected state (Online).
16/2/2025 22:55:21.239 | Remote unit state changed from Initializing to Online.
16/2/2025 22:54:47.694 | Remote unit state changed from Connecting to Initializing.
16/2/2025 22:50:08.068 | Remote unit state changed from Online to Connecting.
16/2/2025 22:30:03.637 | Remote unit state changed from Initializing to Online.
16/2/2025 22:30:01.598 | Remote unit state changed from Connecting to Initializing.
16/2/2025 22:30:00.583 | Remote unit state changed from Online to Connecting.
16/2/2025 22:29:21.841 | Remote Unit is now in expected state (Online).
16/2/2025 22:29:21.839 | Remote unit state changed from Initializing to Online.
16/2/2025 22:28:48.236 | Remote unit state changed from Connecting to Initializing.
16/2/2025 22:24:37.953 | Remote unit state changed from Online to Connecting.
16/2/2025 22:23:04.188 | Remote Unit is now in expected state (Online).
16/2/2025 22:23:04.183 | Remote unit state changed from Initializing to Online.
16/2/2025 22:22:30.668 | Remote unit state changed from Connecting to Initializing.
16/2/2025 22:21:00.181 | Remote unit state changed from Online to Connecting.
16/2/2025 22:17:21.322 | Remote Unit is now in expected state (Online).
16/2/2025 22:17:21.320 | Remote unit state changed from Initializing to Online.
16/2/2025 22:16:48.859 | Remote unit state changed from Connecting to Initializing.
16/2/2025 22:11:48.589 | Remote unit state changed from Online to Connecting.
16/2/2025 22:06:14.794 | Remote unit state changed from Initializing to Online.
16/2/2025 22:06:13.768 | Remote unit state changed from Connecting to Initializing.
16/2/2025 22:06:12.820 | Remote unit state changed from Online to Connecting.
16/2/2025 21:50:06.799 | Remote unit state changed from Initializing to Online.
16/2/2025 21:50:05.803 | Remote unit state changed from Connecting to Initializing.
16/2/2025 21:50:01.675 | Remote unit state changed from Online to Connecting.
16/2/2025 21:45:57.382 | Remote unit state changed from Initializing to Online.
16/2/2025 21:45:56.330 | Remote unit state changed from Connecting to Initializing.
16/2/2025 21:45:52.330 | Remote unit state changed from Online to Connecting.
16/2/2025 21:41:23.725 | Remote Unit is now in expected state (Online).
16/2/2025 21:41:23.722 | Remote unit state changed from Initializing to Online.
16/2/2025 21:40:50.064 | Remote unit state changed from Connecting to Initializing.
16/2/2025 21:36:29.613 | Remote unit state changed from Online to Connecting.
16/2/2025 21:33:44.608 | Remote unit state changed from Initializing to Online.
16/2/2025 21:33:44.600 | Remote unit state changed from Connecting to Initializing.
16/2/2025 21:33:41.541 | Remote unit state changed from Online to Connecting.
16/2/2025 21:25:02.699 | Remote Unit is now in expected state (Online).
16/2/2025 21:25:02.697 | Remote unit state changed from Initializing to Online.
16/2/2025 21:24:28.034 | Remote unit state changed from Connecting to Initializing.
16/2/2025 21:22:07.680 | Remote unit state changed from Telemetry Failure to Connecting.
16/2/2025 21:21:01.519 | Remote unit state changed from Online to Telemetry Failure.
16/2/2025 21:13:01.323 | Remote Unit is now in expected state (Online).
16/2/2025 21:13:01.323 | Remote unit state changed from Initializing to Online.
16/2/2025 21:12:27.727 | Remote unit state changed from Connecting to Initializing.
16/2/2025 21:07:27.384 | Remote unit state changed from Online to Connecting.
16/2/2025 20:54:40.124 | Remote unit state changed from Initializing to Online.
16/2/2025 20:54:39.091 | Remote unit state changed from Connecting to Initializing.
16/2/2025 20:54:35.988 | Remote unit state changed from Online to Connecting.
16/2/2025 20:53:05.695 | Remote Unit is now in expected state (Online).
16/2/2025 20:53:05.692 | Remote unit state changed from Initializing to Online.
16/2/2025 20:52:31.901 | Remote unit state changed from Connecting to Initializing.
16/2/2025 20:47:41.988 | Remote unit state changed from Online to Connecting.
16/2/2025 20:44:53.166 | Remote Unit is now in expected state (Online).
16/2/2025 20:44:53.164 | Remote unit state changed from Initializing to Online.
16/2/2025 20:44:19.602 | Remote unit state changed from Connecting to Initializing.
16/2/2025 20:40:09.493 | Remote unit state changed from Online to Connecting.
16/2/2025 20:38:44.037 | Remote Unit is now in expected state (Online).
16/2/2025 20:38:44.034 | Remote unit state changed from Initializing to Online.
16/2/2025 20:38:10.437 | Remote unit state changed from Connecting to Initializing.
16/2/2025 20:34:09.485 | Remote unit state changed from Online to Connecting.
16/2/2025 20:30:05.054 | Remote unit state changed from Initializing to Online.
16/2/2025 20:30:04.020 | Remote unit state changed from Connecting to Initializing.
16/2/2025 20:29:59.918 | Remote unit state changed from Online to Connecting.
16/2/2025 20:22:38.433 | Remote Unit is now in expected state (Online).
16/2/2025 20:22:38.426 | Remote unit state changed from Initializing to Online.
16/2/2025 20:22:02.840 | Remote unit state changed from Connecting to Initializing.
16/2/2025 20:19:52.671 | Remote unit state changed from Telemetry Failure to Connecting.
16/2/2025 20:17:43.515 | Remote unit state changed from Online to Telemetry Failure.
16/2/2025 20:10:23.102 | Remote Unit is now in expected state (Online).
16/2/2025 20:10:23.100 | Remote unit state changed from Initializing to Online.
16/2/2025 20:09:49.525 | Remote unit state changed from Connecting to Initializing.
16/2/2025 20:05:27.969 | Remote unit state changed from Online to Connecting.

## Sheet3
Field change time | Message |  | Initializing | Online | Connecting | Telemetry Failure
16/2/2025 23:59:48.778 | Remote Unit is now in expected state (Online).
16/2/2025 23:59:48.762 | Remote unit state changed from Initializing to Online. | F |  | 0.00039928
16/2/2025 23:59:14.264 | Remote unit state changed from Connecting to Initializing. | E | 0.003241
16/2/2025 23:54:34.241 | Remote unit state changed from Telemetry Failure to Connecting. | D |  |  | 0.00012881
16/2/2025 23:54:23.112 | Remote unit state changed from Online to Telemetry Failure. | C |  |  |  | 0.0018399
16/2/2025 23:51:44.144 | Remote Unit is now in expected state (Online).
16/2/2025 23:51:44.141 | Remote unit state changed from Initializing to Online. | B |  | 0.00038839
16/2/2025 23:51:10.584 | Remote unit state changed from Connecting to Initializing. | A |  |  | 0.0027904
16/2/2025 23:47:09.492 | Remote unit state changed from Online to Connecting.
|  |  | 0.003241 | 0.00078767 | 0.0029192 | 0.0018399

## Sheet4
Field change time | Message
16/2/2025 23:54:23.112 | Remote unit state changed from Online to Telemetry Failure.
16/2/2025 23:51:44.141 | Remote unit state changed from Initializing to Online.
16/2/2025 23:51:10.584 | Remote unit state changed from Connecting to Initializing.
16/2/2025 23:47:09.492 | Remote unit state changed from Online to Connecting.
0.0018399
0.00038839
0.0027904
0.0050188