9975 | 31/01/2025 12:49:02.651 PM | 31/01/2025 12:49:02.651 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0011 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0011 | S1-LBS-0011 | RBB02YS-10 : Cellular TRUE : แยกเจ็ดเสมียน | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9976 | 31/01/2025 12:49:02.646 PM | 31/01/2025 12:49:02.646 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0176 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0176 | S1-REC-0176 | RNB09R-03 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9977 | 31/01/2025 12:49:02.613 PM | 31/01/2025 12:49:02.610 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0032 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0032 | S1-VSP-0032 | BSP02S-14 : Cellular PP Ontime : VSPP 2RNS01 บจก. รางเงิน โซลูชั่น (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9978 | 31/01/2025 12:49:02.582 PM | 31/01/2025 12:49:02.581 PM | Remote unit state changed from Telemetry Failure to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0421 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0421 | S1-RCS-0421 | RBC03S-11 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9979 | 31/01/2025 12:49:02.576 PM | 31/01/2025 12:49:02.575 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0083 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0083 | S1-REC-0083 | KDA02R-01 | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9980 | 31/01/2025 12:49:02.529 PM | 31/01/2025 12:49:02.529 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0045 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0045 | S1-VSP-0045 | PTH03S-10 : Cellular PP Ontime : VSPP 2TGP01 บจก. ตั้งแซเยี้ยงกรีนเพาเวอร์ วัน (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9981 | 31/01/2025 12:49:02.516 PM | 31/01/2025 12:49:02.514 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0190 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0190 | S1-REC-0190 | BSP09R-01 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9982 | 31/01/2025 12:49:02.494 PM | 31/01/2025 12:49:02.493 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0092 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0092 | S1-REC-0092 | TSE04R-01 | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9983 | 31/01/2025 12:49:02.486 PM | 31/01/2025 12:49:02.485 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0384 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0384 | S1-RCS-0384 | PTH04S-27 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9984 | 31/01/2025 12:49:02.469 PM | 31/01/2025 12:49:02.468 PM | Remote unit state changed from Online to Telemetry Failure. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0402 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0402 | S1-RCS-0402 | SSA10S-22 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9985 | 31/01/2025 12:49:02.462 PM | 31/01/2025 12:49:02.449 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0415 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0415 | S1-RCS-0415 | KDA03S-05 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9986 | 31/01/2025 12:49:02.442 PM | 31/01/2025 12:49:02.437 PM | Remote unit state changed from Telemetry Failure to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0037 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0037 | S1-VSP-0037 | TSE02S-09 : Cellular PP Ontime : VSPP 2CPI01 บมจ.ชุมพรอุตสาหกรรมน้ำมันปาล์ม (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9987 | 31/01/2025 12:49:02.432 PM | 31/01/2025 12:49:02.427 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0033 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0033 | S1-VSP-0033 | BSP06S-20 : Cellular PP Ontime : VSPP 2RNS09 บจก. รางเงิน โซลูชั่น (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9988 | 31/01/2025 12:49:02.370 PM | 31/01/2025 12:49:02.369 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0205 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0205 | S1-REC-0205 | QTA10R-01 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9989 | 31/01/2025 12:49:02.353 PM | 31/01/2025 12:49:02.245 PM | Remote unit state changed from Initializing to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0200 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0200 | S1-REC-0200 | XPA02R-03 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9990 | 31/01/2025 12:49:02.229 PM | 31/01/2025 12:49:02.228 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0412 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0412 | S1-RCS-0412 | LSA01S-28 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9991 | 31/01/2025 12:49:01.348 PM | 31/01/2025 12:49:01.347 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-LBS-0011 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-LBS-0011 | S1-LBS-0011 | RBB02YS-10 : Cellular TRUE : แยกเจ็ดเสมียน | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9992 | 31/01/2025 12:49:01.343 PM | 31/01/2025 12:49:01.343 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0043 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0043 | S1-VSP-0043 | CPA04S-12 : Cellular PP Ontime : VSPP 2NPG02 บจก. กลุ่มปาล์มธรรมชาติ (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9993 | 31/01/2025 12:49:01.338 PM | 31/01/2025 12:49:01.338 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0211 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0211 | S1-REC-0211 | RNA05R-07 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9994 | 31/01/2025 12:49:01.334 PM | 31/01/2025 12:49:01.334 PM | Remote unit state changed from Online to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-AVR-0007 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-AVR-0007 | S1-AVR-0007 | TSE05A-01 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9995 | 31/01/2025 12:49:01.331 PM | 31/01/2025 12:49:01.331 PM | Remote unit state changed from Online to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0101 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0101 | S1-REC-0101 | KUR01R-03 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9996 | 31/01/2025 12:49:01.328 PM | 31/01/2025 12:49:01.327 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-RCS-0375 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-RCS-0375 | S1-RCS-0375 | PBA06S-35 : Cellular PP Ontime | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9997 | 31/01/2025 12:49:01.325 PM | 31/01/2025 12:49:01.324 PM | Remote unit state changed from Initializing to Connecting. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0009 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0009 | S1-VSP-0009 | TSE06S-15 : Cellular PP Ontime : VSPP 2CPC01 บจก. ซีพีพี (After GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9998 | 31/01/2025 12:49:01.320 PM | 31/01/2025 12:49:01.320 PM | Remote unit state changed from Initializing to Online. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-REC-0174 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-REC-0174 | S1-REC-0174 | RNA06R-01 : Cellular TRUE | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
9999 | 31/01/2025 12:49:01.318 PM | 31/01/2025 12:49:01.317 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0040 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0040 | S1-VSP-0040 | LSA05S-20 : Cellular PP Ontime : VSPP 2CPO01 บจก. ชุมพร เอส.พี.ปาล์มออยล์ (Before GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2
10000 | 31/01/2025 12:49:01.313 PM | 31/01/2025 12:49:01.309 PM | Remote unit state changed from Connecting to Initializing. |  | Event | S1 MV |  | S1 FRTU |  | S1 FRTU | S1-VSP-0009 | Remote unit | S1-HV,S1-MV,S1-Viewer | S1-VSP-0009 | S1-VSP-0009 | TSE06S-15 : Cellular PP Ontime : VSPP 2CPC01 บจก. ซีพีพี (After GC51) | Trivial | NaN | Unknown | IT | Telemetry Alarm | None | SCADA | core\dnaApp_pcore | DC1-COR-DRT2